## Slide 1
Chemometrics - formulas and tests, 2nd part
Simple linear regression 2
Univariate linear regression of m-th order 7
Multiple linear regression 9
Validation of regression models 11
Residuals and leverage values; Williams plot 12
Experimental design: empirical models (k factors) 13
Full factorial designs (2k) 14
Mixture design and application of DoE to chromatography 15
Principal Components Analysis 16
Inverse calibration, Principal Component Regression and Partial Least Squares 18
Cluster Analysis 19
Classification methods 21
Quality control and sampling 24

## Slide 2
Simple linear regression
Model
Main assumptions
for i ≠ j = 1,2,….,n.
Yi 
for i = 1,2,…. ,n;
Regression equation and coefficients

## Slide 3
Confidence intervals for coefficients
Confidence intervals for Y values
Coefficient of determination (R2) and correlation coefficient (r2XY)
Prediction intervals for Y
one replicate
m replicates
Note: sy/x (or SY/X)is used as the best estimator for s

## Slide 4
ANOVA for simple linear regression (without lack of fit estimation)
SSTOT = SSREG + SSRES
Source of variation | SS | df | MS | E(MS)
Regression |  | 1 | MSREG | 
Residuals |  | n-2 | MSRES |  2
Total |  | n-1 |  | 
Criterion for significance of regression

## Slide 5
5
ANOVA for simple linear regression (with lack of fit estimation)
Criterion for lack of fit assessment
Source of variation | SS | df | MS | E(MS)
Total |  | N-1 |  | 
Regression | By subtraction | 1 | MSREG | 
Residuals |  | N-2 | MSRES | 2
Lack of Fit | By subtraction | h-2 | MSLoF | 
Pure error |  | N-h | MSp.e. | 

## Slide 6
Calibration and inverse regression
x0 estimates
one replicate
m replicates
Confidence interval for x0: Wald interval (m replicates)

## Slide 7
Univariate linear regression of order m
Model
Matricial equations for responses and coefficients
(n1) (np) (p1) (n1)
(p1) (pp) (p1)
Expectation and variance of vector b; unbiased estimator for s2
p = m + 1

## Slide 8
Variance of a specific coefficient bi
Confidence interval for bi at a a significance level
Confidence interval for ŷ0 at a a significance level
Note: Cii is the i-th element on the main diagonal of matrix

## Slide 9
Multiple linear regression
Model
Matricial equations for responses and coefficients
Variance of vector b, unbiased estimator for s2
Confidence interval for bj at a a significance level
where Cjj is the j-th element on the main diagonal of matrix

## Slide 10
Coefficient of determination in multiple linear regression
Statistic for the evaluation of the significance of the model
Application of multiple linear regression to multicomponent analysis

## Slide 11
Validation of regression models
Adjusted-R2
Predictive Error Sum of Squares (PRESS)
= value predicted for the i-th sample using a model in which the sample has not been taken into account
Coefficient of determination for cross validation

## Slide 12
Residuals
e = (I -H)y
Var(e) = (I - H)s2
where:
H = X(XTX)-1XT
Internally studentized residuals
i = 1,2,…,n
Cook distance (recognition of influential points)
i=1,2,….,n
Residuals and leverage values; Williams plot
Leverages = diagonal elements of the H matrix (hii):
for simple linear regression
Williams Plot: standardized residuals vs leverages

## Slide 13
Experimental design: empirical models (k factors)
first-degree (linear) model
second-degree (quadratic) model
interaction model

## Slide 14
Full factorial designs (2k)
Average effects
without replicates
with n replicates
Model coefficients
without replicates
with n replicates
Sum of squares (n replicates)

## Slide 15
Mixture design and DoE applications to chromatography
Pseudo-components in mixture design
where:
Chromatographic Response Function (CRF)
where:
Ri is the resolution between adjacent peak pairs
P is the number of peaks detected
tM is the target retention time in minutes
tL is the retention time for the last peak,
a and b are two arbitrary weighting factors
Derringer’s desirability function (D)
where: or

## Slide 16
Principal Components Analysis
k-th principal component for i-th sample, described by p original variables
Variance of the k-th principal component
Variance of the first principal component and constraint on its loadings
S =
s21 | cov (x1,x2) | … | … | cov (x1,xp)
cov (x2,x1) | s22 | . | . | .
. | . | . | . | .
. | . | . | . | .
cov (xp,x1) | … | … | … | s2p

## Slide 17
Obiective functions for the 1st and the 2nd principal components
L = iTSi - (iTi - 1)
Matricial equations for scores (T) and loadings (P)
T = X P
S = P  PT
Correlation between principal component zi and original variable Xj

## Slide 18
Inverse calibration, Principal Component Regression and Partial Least Squares
Regression model for inverse calibration in multi-component spectrophotometric analysis
Principal Component Regression: matricial equations
Tk = X Pk
y = Tk  + 
y = X  + 
 = PkT β
b = Pk a
Partial Least Squares: matricial equations
SX (RX) = P  PT

## Slide 19
Cluster Analysis
Distance measurements (main approaches)
Similarity

## Slide 20
centroid method
k-means method
Clustering algorithms (main approaches)
single linkage
complete linkage
average linkage
within cluster sum of squares
total sum of squares

## Slide 21
Classification methods
Confusion matrix (example with group NER% calculation) and related formulas
Non Error Rate
possible a priori probabilities
sensitivity of class g
specificity of class g
NER% (A) = 9/10 = 90.0%
NER% (B) = 8/12 = 66.7%
NER% (C) = 5/8 = 62.5%
NER%= [(9/10) + (8/12) + (5/8)]/3 x 100 = 73.05%

## Slide 22
Linear Discriminant Analysis (two classes, k = 2)
z = X w
where:
w = (w1, w2, …, wp)T
zi = wTxi = w1xi1 + w2xi2 + … + wpxip
Fisher linear discriminant
where:
for i = 1, 2
and
where:
and
Objective function (to be maximized)

## Slide 23
Linear Discriminant Analysis (more than 2 classes, k > 2)
Fisher linear discriminant
where:
Equation used to find W
where W is the projection matrix
and
Variable Importance in Projection (VIP) score for original variable j in Partial Least Squares – Discriminant Analysis (PLS – DA)
J and F = total numbers of original and latent variables, respectively
w2jf = weight of variable j on the latent variable f
SSYf = portion of y or Y variance explained by latent variable f
SSYtot.expl. = variance explained by all latent variables.

## Slide 24
Quality control and sampling
Shewhart control chart for the mean
95% confidence lines
(warning lines)
99.7% confidence lines
(action lines)
Equations based on average range and W and A coefficients
Average Run Length for a system out of control (ARLD)
where b = probability that the chart does not indicate a deviation when the process is out of control
CUSUM control charts
tan q = d sx /2
d = (2/d2) ln [(1-b)/a]
k = tan q = d sx /2
h = d tan q = UO = OL
alternative parameters
(Minitab 18):

## Slide 25
Proficiency testing (PT)
z-score
Horwitz equation for relative standard deviation (RSD)
Collaborative trials (CT)
Relationship between reproducibility standard deviation (sR) and repeatability standard deviation (sr) plus variation due to inter-laboratory differences (sL)
Cochran method for the assessment of homogeneity of variance:
wmax is the largest of ranges wj obtained by participating laboratories
Youden Plot

## Slide 26
Sampling
overall variance (sampling + method)
Relative sampling standard deviation (two types of particles) and relationship between it and the number of particles
relationship between mass of a random grab sample (m) and relative standard deviation for sampling (R)
overall error (e) as a function of sampling and method variances and of the number of samples (nsamp) and of replicates for each sample (nrep)
uncertainty in x due to systematic sampling, with f representing the ratio between the number of test samples (n) and the total number of items in the population (N)