PerkinElmer Spectrum Version 10.4.3
Monday, April 27, 2015 6:16 PM

Report Details
Report Location	C:\Users\Didattica\Desktop\chim_fis_2\2015\a1a2\brbn_10.rtf	
Report Creator	user	
Report Date	Monday, April 27, 2015 6:16 PM	

Spectrum
	
Name	Description	
 ___  10	Sample 006 By ir Date Monday, April 27 2015	

Summary
Sample Name	Description	Quality	
10	Sample 006 By ir Date Monday, April 27 2015	The Quality Checks give rise to multiple warnings for the sample.	

Peak Table Spectrum

Peak Area/Height Results
Peak	X (cm-1)	Y (A)	Area (A)	Height (A)	Start	End	Base1	Base2	
1	734.3	0.63	3.93	0.6301	860.16	705.06	860.16	705.06	

Peak	X (cm-1)	Y (A)	Area (A)	Height (A)	Start	End	Base1	Base2	
2	1579.52	0.0849	1.1	0.0865	1614.98	1538.37	1683.42	1505.85	
2	734.3	0.63	3.33	0.6301	793.55	705.06	860.16	705.06