PerkinElmer Spectrum Version 10.4.3
Monday, April 27, 2015 4:43 PM

Spectrum
	
Name	Description	
 ___  ir 03	Sample 003 By ir Date Monday, April 27 2015	

Summary
Sample Name	Description	Quality	
ir 03	Sample 003 By ir Date Monday, April 27 2015	The Quality Checks give rise to multiple warnings for the sample.	

Peak Area/Height Results
Peak	X (cm-1)	Y (A)	Height (A)	Start	End	Base1	Base2	
1	3400.11	1.8182	1.8262	5500	2655.94	5499.88	2655.94	
3	1642.66	0.4144	0.3515	2655.94	1417.91	2655.94	1417.91