PerkinElmer Spectrum Version 10.4.3
Wednesday, May 06, 2015 5:10 PM

Report Details
Report Location	C:\Users\Didattica\Desktop\chim_fis_2\2015\b4c4\polystirene.rtf	
Report Creator	user	
Report Date	Wednesday, May 06, 2015 5:10 PM	

Spectrum
	
Name	Description	
 ___  ir 51	Sample 051 By ir Date Wednesday, May 06 2015	

Summary
Sample Name	Description	Quality	
ir 51	Sample 051 By ir Date Wednesday, May 06 2015	The Quality Checks give rise to multiple warnings for the sample.	

Peak Table Spectrum

Peak Table
Peak No.	X (cm-1)	Y (A)	Peak No.	X (cm-1)	Y (A)	Peak No.	X (cm-1)	Y (A)	
1	4654.43	0.0999	2	4458.09	0.0821	3	4332.86	0.1017	
4	4206.88	0.1114	5	4035.78	0.1568	6	3953.94	0.1019	
7	3891.25	0.1011	8	3826.72	0.1027	9	3765.73	0.1009	
10	3701.75	0.1047	11	3647.03	0.1157	12	3578.2	0.0982	
13	3514.16	0.0974	14	3451.26	0.1014	15	3389.52	0.0976	
16	3326.39	0.0976	17	3266.18	0.1003	18	3203.95	0.1093	
19	3102.94	0.3942	20	3082.4	1.0788	21	3060.2	1.4983	
22	3025.25	2.9898	23	3001.46	0.6438	24	2930	2.8015	
25	2923.91	3.0261	26	2920.94	3.0237	27	2849.84	1.027	
28	2745.06	0.1269	29	2684.65	0.1333	30	2629.4	0.1348	
31	2559.88	0.125	32	2498.53	0.1241	33	2435.39	0.1121	
34	2371.05	0.1175	35	2311.48	0.1301	36	2248.84	0.1126	
37	2184.62	0.1077	38	2121.77	0.1011	39	2059.66	0.1001	
40	1942.85	0.2924	41	1870.44	0.2477	42	1802.64	0.2518	
43	1745.54	0.211	44	1675.11	0.1577	45	1601.37	1.3576	
46	1583.16	0.4969	47	1544.89	0.1842	48	1493.88	8.0124	
49	1493.31	8.4643	50	1492.38	3.5405	51	1452.69	8	
52	1372.6	0.4765	53	1328.72	0.3662	54	1311.86	0.355	
55	1181.45	0.4091	56	1154.73	0.3832	57	1069.19	0.4743	
58	1028.3	0.8923	59	1003.15	0.3056	60	980.4	0.2909	
61	964.67	0.2957	62	942.19	0.231	63	906.59	0.5633	
64	841.94	0.243	65	760.87	2.5156	66	758.48	2.8444	
67	755.78	2.7871	68	753.48	2.5544	69	752.65	2.6162	
70	751.34	2.4006	71	749.63	2.374	72	705.38	8	
73	704.81	8.4376	74	703.73	3.2491	75	702.5	8	
76	701.81	8.537	77	700.31	8	78	698.69	8.5031	
79	697.56	8	80	696.01	4.5765	81	695.19	8	
82	694.12	8	83	620.79	0.2096